|  | CONSTRUCTION PHASE PLAN {{CPP_TITLE}} |  |
| --- | --- | --- |

{{CPP_LOGO_COVER_MIDDLE_IMG}}

{{CPP_COMPANY_NAME}}

{{CPP_COMPANY_A_BN}} {{CPP_COMPANY_ADDRESS_LINE1}}
{{CPP_COMPANY_ADDRESS_LINE2}}
{{CPP_COMPANY_CITY}}
{{CPP_COMPANY_POSTCODE}}
{{CPP_COMPANY_COUNTRY}}

Tel:  {{CPP_COMPANY_PHONE}}

Email:  {{CPP_COMPANY_EMAIL}}

Contents

1

1	Key Information	4

2	Scope & Purpose	4

3	Project Information & Key Contacts	4

4	Management Arrangements	6

3.1 CDM Roles & Responsibilities	6

3.2 Competence & Induction	6

3.3 Supervision & Monitoring	6

3.4 Communication & Coordination	6

3.5 Information Management	6

5	Site Logistics & Setup	6

4.1 Site Layout	6

4.2 Traffic Management	6

4.3 Security	7

4.4 Welfare (Schedule 2)	7

6	Construction Method & Sequence (High Level)	7

7	Risk Management & Controls (Key Topics)	7

6.1 Working at Height	7

6.2 Lifting Operations (Cranes/Hoists)	8

6.3 Temporary Works	8

6.4 Fire Safety in Construction	8

6.5 Services & Excavations	8

6.6 Hazardous Substances (COSHH)	8

6.7 Noise, Vibration, Dust & Air Quality	8

6.8 Public Protection & Interfaces	8

6.9 Manual Handling & Ergonomics	8

6.10 Confined Spaces & Restricted Areas	8

6.11 Weather & Seasonal Risks	9

6.12 Occupational Health & Well‑being	9

8	Environmental & Sustainability Management	9

9	Quality Management	9

10	Emergency Preparedness & First Aid	9

11	Site Rules (Display at Entrance & Induction)	9

12	Permits to Work & Authorisations	10

13	Design Management & Change Control	10

14	Services & Utilities Management	10

15	Materials Handling & Storage	10

16	Access, Scaffolding & Façade Access	10

17	Testing, Commissioning & Handover	10

18	Programme (High‑Level – Example Placeholder)	11

19	Records & Documentation (Maintain on CDE)	11

20	Appendices (Project‑Specific)	11

Sign‑Off (to be completed at start of works)	11

- Key Information

| Written / Reviewed by | {{CPP_WRITTEN_REVIEWED_BY}} |
| --- | --- |
| Revision | {{CPP_REVISION}} |
| Anticipated Commencement Date: | {{CPP_START_DATE}} |
| Duration of Works: | {{CPP_DURATION}} |
| Project Number: | {{CPP_PROJECT_NUMBER}} |
| F10 Notification: (if applicable) | {{CPP_F10_REF}} |
| Site Address: | {{CPP_SITE_A_BN}} {{CPP_SITE_ADDRESS_LINE1}} {{CPP_SITE_ADDRESS_LINE2}} {{CPP_SITE_CITY}} {{CPP_SITE_POSTCODE}} {{CPP_SITE_COUNTRY}} |
| Insert Project Task / Activity | {{CPP_TASK_ACTIVITY}} |

- Project Information & Key Contacts

Create and keep current a contact tree with 24/7 details.

| Role | Organisation | Name | Phone | Email |
| --- | --- | --- | --- | --- |
| Client |  |  |  |  |
| Principal Designer |  |  |  |  |
| Principal Contractor |  |  |  |  |
| Contracts Manager |  |  |  |  |
| Project Manager |  |  |  |  |
| Site Manager |  |  |  |  |
| H&S Lead |  |  |  |  |
| Temporary Works Coordinator (TWC) |  |  |  |  |
| Appointed Person (Lifting) |  |  |  |  |
| Fire Safety Coordinator |  |  |  |  |
| First Aiders (day/night) |  |  |  |  |
| Out‑of‑hours On‑Call |  |  |  |  |
| Security Provider |  |  |  |  |
| Neighbour Liaison |  |  |  |  |
| Local A&E Hospital |  |  |  |  |

- Scope & Purpose

{{AI_SCOPE_NARRATIVE}}

- {{AI_WORK_LIST}}

- Management Arrangements

4.1 CDM Roles & Responsibilities

- Client: ensure suitable PD/PC appointments, provide pre‑construction information (PCI), allow sufficient time/resources.

- Principal Designer: plan, manage and monitor pre‑construction; coordinate design risk management; maintain the Health & Safety File.

- Principal Contractor: plan, manage and monitor construction; produce and maintain this CPP; coordinate trades; ensure site welfare and inductions.

- Designers/Contractors: eliminate/reduce/control risks; cooperate and share information; provide RAMS and competence evidence.

4.2 Competence & Induction

- {{include_competence_plant_height_1}}

- {{include_competence_plant_height_2}}

- Daily briefings/TBTs by supervisors; RAMS signed before starting.

4.3 Supervision & Monitoring

- Minimum SSSTS for working supervisors; SMSTS for site managers.

- Formal weekly H&S inspections and monthly audits. Close‑out of actions tracked in an issues log.

- KPIs: AFR, near misses, inspections closed, quality ITP completion, environmental incidents.

4.4 Communication & Coordination

- Daily coordination meeting (PC, trade leads, logistics, H&S).

- Weekly design coordination (PD/Designers/PC) including residual risks review.

- Look‑ahead planning: 2‑week and 6‑week rolling programmes.

4.5 Information Management

- Drawing control via CDE (e.g., Common Data Environment).

- RFI/TQ process with response SLAs.

- Latest issue only at point of work.

- Site Logistics & Setup

5.1 Site Layout

- Hoarding line, gates, turnstiles, access/egress, fire assembly point(s), muster routes.

- Pedestrian/vehicle segregation with barriers; banksman controlled gates.

- {{include_heavy_logistics_laydown}}

- Wheel‑wash and road‑sweeping plan.

5.2 Traffic Management

- {{include_public_traffic_mgmt_1}}

- One‑way system where practicable; speed limit 5 mph on site.

- Banksman for all reversing; no reversing into public highway.

- {{include_public_traffic_mgmt_2}}

5.3 Security

- {{include_secure_perimeter_hoarding}}

- Visitors by appointment; sign‑in/out; site pass visible at all times.

5.4 Welfare (Schedule 2)

- Toilets, wash facilities, drinking water, changing/drying rooms, canteen and rest areas sized to peak workforce; regular cleaning regime.

- Heating/lighting/ventilation suitable for all seasons.

- Construction Method & Sequence (High Level)

{{AI_CONSTRUCTION_SEQUENCE}}

- Risk Management & Controls (Key Topics)

{{AI_RISK_MANAGEMENT}}

- Environmental & Sustainability Management

- Environmental Management Plan (EMP) covering: waste, water, energy, ecology, archaeology, contamination and pollution prevention.

- Waste: segregation, licensed carriers, duty of care notes, diversion from landfill targets.

- Pollution Prevention: silt control, bunded fuel stores, spills procedure, no uncontrolled concrete washout.

- Energy & Carbon: metered temporary supplies, NRMM register, generator right‑sizing, low‑carbon logistics, consolidate deliveries.

- Biodiversity/Arboriculture: protection of trees (RPA), nesting birds checks as required.

- Sustainability targets (e.g., BREEAM/Net Zero pathways) with evidence capture.

- Quality Management

- ITPs with hold/witness points; material approvals; sample panels/mock‑ups.

- First‑of‑type inspections; benchmarking rooms/floors.

- Calibration of test equipment; snag prevention walks; digital QA records.

- Emergency Preparedness & First Aid

- Emergency Plan posted at key locations; include fire, medical, structural, environmental incidents and rescue from height/confined spaces.

- Assemblies/muster points; role of fire wardens and sweepers.

- Number/location of first‑aid kits, AED, trained first aiders by shift.

- Nearest A&E: [Insert address, phone, travel time]

- Incident reporting, investigation and RIDDOR notification where applicable.

- Site Rules (Display at Entrance & Induction)

- All operatives and visitors must complete induction and sign in/out.

- PPE minimum: safety boots, hard hat, hi‑vis; task‑specific PPE as RAMS require (eye/hearing, gloves, RPE, harness).

- Zero tolerance for drugs/alcohol; random testing may be conducted.

- No lone working for high‑risk activities.

- Good housekeeping; keep routes clear; segregate waste.

- Only trained/authorised persons to operate plant/equipment.

- Follow permits (hot works, roof work, excavation, confined space, live electrics).

- Report hazards, near misses and incidents immediately.

- Respect neighbours: noise, dust, language and conduct.

- Smoking/vaping only in designated areas.

- Permits to Work & Authorisations

- Permit to Dig, Hot Works, Live Electrical Work/Isolation, Roof Work, Confined Space, Crane/Lifting, Working at Height (fragile surfaces), Temporary Works – Permit to Load/Strike.

- Register maintained by PC; only authorised issuers may sign permits.

- Design Management & Change Control

- Designers to submit Design Risk Assessments (DRAs) with each package.

- Residual risks logged and communicated at induction/briefings.

- Change control via TQ/RFI; impact assessed on safety, programme, cost, quality and environment.

- Services & Utilities Management

- Temporary power, water and lighting layouts; PAT regime and lock‑out/tag‑out (LOTO).

- Incoming utilities coordination; metering and isolation points; emergency shut‑offs marked on plans.

- Battery charging stations with fire controls and ventilation.

- Materials Handling & Storage

- {{include_heavy_logistics_laydown}}

- Manual handling aids, trolleys, pallet trucks; lift cores kept clear.

- Storage of flammables (bunded/ventilated), gas cylinders (secured/segregated).

- Just‑in‑time deliveries where space is constrained.

- Access, Scaffolding & Façade Access

- {{include_section_16_facade_1}}

- {{include_section_16_facade_2}}

- {{include_section_16_facade_3}}

- Testing, Commissioning & Handover

- {{include_section_17_commissioning_1}}

- {{include_section_17_commissioning_2}}

- {{include_section_17_commissioning_3}}

- Programme (High‑Level – Example Placeholder)

- Total duration: [e.g., 90–110 weeks depending on frame/envelope].

- Milestones: Site set‑up → Piling complete → Frame to Level 10 → Watertight → First fix complete → Commissioning start → Practical Completion → Soft‑Landings period.

- Records & Documentation (Maintain on CDE)

- Induction records; RAMS approvals; training & competency matrix; plant/LOLER/PUWER certificates; temporary works register; inspection reports; test results; permits; incident logs; audits; environmental and waste transfer notes; design deliverables; ITPs; commissioning records; O&Ms; H&S File.

- Appendices (Project‑Specific)

- A. Site Location Plan & Constraints Map

- B. Site Logistics Plan(s) by Phase

- C. Emergency Plan (incl. hospital route)

- D. Fire Strategy and Alarm Zones (by phase)

- E. Temporary Works Procedure & Register

- F. Traffic Management Plan

- G. Lifting Strategy & Sample Lift Plans

- H. Environmental Management Plan (incl. NRMM register)

- I. Waste Management Plan & Duty of Care

- J. Design Risk Register & Residual Risks

- K. Inspection & Test Plans (package index)

- L. Permit to Work Templates

- M. Training & Competency Matrix

- N. Neighbour/Stakeholder Engagement Plan

Sign‑Off (to be completed at start of works)

I confirm that I have read and understood the Construction Phase Plan and will implement its requirements.

| Name | Role | Signature | Date |
| --- | --- | --- | --- |

Note: This CPP is a live document. Update it whenever there is significant change in design, methods, sequence, resources, or risk profile.

Insert Project Task / Activity (AI CONTENT GETS ADDED HERE)